## simul
Combined standard uncertainty: gas dilution installation
2: Simulation of the random (and here gaussian) error
specifications of the manufacturer:
gas:
| concentration (C0): | 1000 | ppm
| uncertainty (IC0) | 15 | ppm (k=2) | [10 empty] | 20
1
2 flowmeters with different ranges | [6 empty] | valeur | incert. (k=2) | incert. Rel. % (k=2)
ranges: | [5 empty] | débits théo.: d1 | 98
| dmax1 | 100 | Nl/h (Normo-liter/hour) |  |  | d2 | 2 |  |  |  | Cells with modifiable values
| dmax2 | 5 | Nl/h (Normo-liter/hour) | [7 empty] | Cells to be completed (formulas)
[6 empty] | C. voulue | 20 | #DIV/0! | #DIV/0!
| Uncertainty (Id): | 1.2 | % of the range (FS)* (k=2) |  |  | débit d final voulu: | 100 | Nl/h
* for a flowrate > 20% FS
|  |  | randomized errors |  |  |  | Variates + errors
| Standard deviation d1 |  | E deb 1 | E deb 2 | E C0 | d1 | d2 | C0 | C | Standard dev. |  | #DIV/0!
| Standard deviation d2 | [8 empty] | 95% uncertainty |  | #DIV/0!
| Standard deviation C0 | [8 empty] | Mean |  | #DIV/0! | (verification)
Generation of random numbers with gaussian (normal) distribution:
LOI.NORMALE.INVERSE(ALEA();mean; standard deviation)
if random error, mean = 0
19
19.1
19.2
19.3
19.4
19.5
19.6
19.7
19.8
19.9
20
20.1
20.2
20.3
20.4
20.5
20.6
20.7
20.8
20.9
21
Recalculation of variates with their errors (which are added algebraically, unlike standard deviations that add quadratically)
2x standard deviation (N great)
3 sources d'erreurs: - erreurs de débit pour les 2 débitmètres - erreur sur C0
A classical process to prepare online gas mixtures (low concentration in air) consists in using a dilution bench: Pure air, and a gas with a large concentration C0 in air, are mixed using two volumetric flowrate regulators d1 and d2. The specifications of the flowmeters and of the C0 gas are known. From the manufacturer's specifications, calculate the 95% uncertainty on the final concentration C. Distribution of random errors is gaussian.
1500x3 random computer selection of errors...
Caution, the specifications give uncertainties,which must be divide by 2 to obtain the standard deviations.
Calculation of variables with errors
Formulas giving the flows d1 and d2 according to the final concentration and to the total flow desired
Formulas giving final concentration according to the 2 flows d1 and d2

## histo of errors
Classes | Fréquence
19 | 1
19.1 | 6
19.2 | 7
19.3 | 18
19.4 | 36
19.5 | 58
19.6 | 69
19.7 | 96
19.8 | 135
19.9 | 145
20 | 170
20.1 | 174
20.2 | 167
20.3 | 128
20.4 | 96
20.5 | 77
20.6 | 52
20.7 | 32
20.8 | 17
20.9 | 10
21 | 4
ou plus... | 2